## Wells
TID WELLS 2007 (Aug 7 - Aug 14)
TOTAL
| DATE | TIME | DATE | TIME |  |  | METER | METER | AF | STATIC | PUMPING
SITE | STARTED | STARTED | CHECKED | CHECKED | GPM | CFS | START | PRESENT | PUMPED | HEAD | HEAD
1 | 2007-08-07 | 6:25 | 2007-08-14 | 6:15 | 0 | 0 | 2415.12 | 2528.35 | 113.23 | 28.3 |  | Off 8/11
2 | 2007-08-07 | 6:35 | 2007-08-14 | 6:30 | 11000 | 24.5081 | 2612.9 | 2970.66 | 357.76 | 41.4 | 123.6
3 | 2007-08-07 | 6:45 | 2007-08-14 | 6:45 | 9000 | 20.0521 | 1617.89 | 1866.22 | 248.33 | 40.7 | 168.9
4 | 2007-08-07 | 7:00 | 2007-08-14 | 6:55 | 0 | 0 | 7136.96 | 7276.46 | 139.5 | 35.2 |  | Off 8/11
5 | 2007-08-07 | 7:12 | 2007-08-14 | 7:05 | 0 | 0 | 10671.12 | 10798.98 | 127.86 | 35.6 |  | Off 8/10
6 | 2007-08-07 | 7:25 | 2007-08-14 | 7:15 | 5200 | 11.5857 | 5595.95 | 5731.37 | 135.42 | 36.6 | 193.4
7 | 2007-08-07 | 7:40 | 2007-08-14 | 7:40 | 4200 | 9.3576 | 686.85 | 798.86 | 112.01 | 56.8 | 253.8
8 | 2007-08-07 | 8:15 | 2007-08-14 | 8:20 | 4000 | 8.912 | 3890.27 | 4017.08 | 126.81 | 37.4 | 253.7
9 | 2007-08-07 | 8:00 | 2007-08-14 | 8:00 | 5000 | 11.1401 | 5233.4 | 5411.32 | 177.92 | 35 | 205.3
14 | 2007-08-07 | 8:40 | 2007-08-14 | 9:05 | 12500 | 27.8501 | 4038.9 | 4242.81 | 203.91 | 29 | 72.6
|  |  |  | TOTAL CFS |  | 113.4057
|  |  |  | GROUND WATER PUMPED (Aug 7 - Aug 14) |  |  |  |  | 1742.75 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 1 - Aug 7) |  |  |  |  | 1874.62 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 24 - Aug 1) |  |  |  |  | 2368.83 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 17 - Jul 24) |  |  |  |  | 1465.2 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 11 - Jul 17) |  |  |  |  | 1214.74 | Acre Feet
|  |  |  | TOTAL PUMPED 2007 WATER ENHANCEMENT |  |  |  |  | 8666.14 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 3 - Jul 11) |  |  |  |  | 323.95 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jun 21 - Jul 3) |  |  |  |  | 611.6 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jun 6 - Jun 21) |  |  |  |  | 363.53 | Acre Feet
|  |  |  | GROUND WATER PUMPED (May 25 - Jun 6) |  |  |  |  | 396.71 | Acre Feet
|  |  |  | TOTAL PUMPED 2007 |  |  |  |  | 10361.93 | Acre Feet