## Wells
TID WELLS 2007 (Sep 10 - Sep 18)
TOTAL
| DATE | TIME | DATE | TIME |  |  | METER | METER | AF | STATIC | PUMPING
SITE | STARTED | STARTED | CHECKED | CHECKED | GPM | CFS | START | PRESENT | PUMPED | HEAD | HEAD
1 |  |  | 2007-09-18 |  | 0 | 0 | 2528.35 | 2528.35 | 0 | 28.3 |  | Off
2 | 2007-09-10 | 8:50 | 2007-09-18 | 9:20 | 11000 | 24.5081 | 3799.35 | 4208.77 | 409.42 | 41.4 | 123.9
3 | 2007-09-10 | 9:01 | 2007-09-18 | 9:30 | 8000 | 17.8241 | 2429.67 | 2713.26 | 283.59 | 40.7 | 169.8
4 |  |  | 2007-09-18 |  | 0 | 0 | 7567.5 | 7567.5 | 0 | 35.2 |  | Off
5 |  |  | 2007-09-18 |  | 0 | 0 | 11100.78 | 11176.16 | 75.38 | 35.6 |  | Off 9/12
6 |  |  | 2007-09-18 |  | 0 | 0 | 5787.86 | 5787.86 | 0 | 36.6 |  | Off
7 |  |  | 2007-09-18 |  | 0 | 0 | 855.85 | 855.85 | 0 | 56.8 |  | Off
8 | 2007-09-10 | 10:15 | 2007-09-18 | 10:50 | 4000 | 8.912 | 4234.42 | 4378.96 | 144.54 | 37.4 | 254.9
9 | 2007-09-10 | 10:00 | 2007-09-18 | 10:30 | 6000 | 13.3681 | 5699.59 | 5890.51 | 190.92 | 35 | 209
14 | 2007-09-10 | 10:45 | 2007-09-18 | 11:20 | 5100 | 11.3629 | 4794.1 | 5066 | 271.9 | 29 | 40.6
|  |  |  | TOTAL CFS |  | 75.9751
|  |  |  | GROUND WATER PUMPED (Sep 10 - Sep 18) |  |  |  |  | 1375.75 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 22 - Sep 10) |  |  |  |  | 1821.47 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 14 - Aug 22) |  |  |  |  | 1333.89 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 7 - Aug 14) |  |  |  |  | 1742.75 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 1 - Aug 7) |  |  |  |  | 1874.62 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 24 - Aug 1) |  |  |  |  | 2368.83 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 17 - Jul 24) |  |  |  |  | 1465.2 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 11 - Jul 17) |  |  |  |  | 1214.74 | Acre Feet
|  |  |  | TOTAL PUMPED 2007 WATER ENHANCEMENT |  |  |  |  | 13197.25 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 3 - Jul 11) |  |  |  |  | 323.95 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jun 21 - Jul 3) |  |  |  |  | 611.6 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jun 6 - Jun 21) |  |  |  |  | 363.53 | Acre Feet
|  |  |  | GROUND WATER PUMPED (May 25 - Jun 6) |  |  |  |  | 396.71 | Acre Feet
|  |  |  | TOTAL PUMPED 2007 |  |  |  |  | 14893.04 | Acre Feet